## Strumenti
ELENCO STRUMENTI | PERCORSO OUTPUT
logger

## Wattmeter
CHANNEL | TIPOLOGIA | LABEL | PORTA WT | MODELLO | MISURE WT230 | READ ME WT230 | MISURE WT500 | READ ME WT500 | MISURE WT3000 | READ ME WT3000
4 | U | Vin | GPIB9::6::INSTR | WT3000 | V | Volt | URMS |  | U
[5 empty] | A | Current | UMN |  | I
[5 empty] | W | Active Power | UDC |  | P
[5 empty] | VA | Apparent Power | UAC |  | S
[5 empty] | VAR | Reactive Power | IRMS |  | Q
[5 empty] | PF | Power Factor | IMN |  | LAMB
[5 empty] | DEGR |  | IDC |  | IPP | Picco positivo di corrente
[5 empty] | VHZ |  | IRMN |  | IMP | Picco negativo di corrente
[5 empty] | AHZ |  | IAC |  | WH | Wh (integ mode on)
[5 empty] | WH | Wh (integ mode on) | P |  | WHP | Wh - only positive (integ mode on)
[5 empty] | WHP | Wh - only positive (integ mode on) | S |  | WHM | Wh - only negative (integ mode on)
[5 empty] | WHM | Wh - only negative (integ mode on) | Q |  | AH | Ah (integ mode on)
[5 empty] | AH | Ah (integ mode on) | LAMB |  | AHP | Ah - only positive (integ mode on)
[5 empty] | AHP | Ah - only positive (integ mode on) | PHI |  | AHM | Ah - only negative (integ mode on)
[5 empty] | AHM | Ah - only negative (integ mode on) | FU |  | TIME | Elapsed integration time (integ mode on)
[5 empty] | TIME | Elapsed integration time (integ mode on) | FI
[7 empty] | UPP | Picco positivo di tensione
[5 empty] | In questo strumento, channel = elemento |  | UMP | Picco negativo di tensione
[7 empty] | IPP | Picco positivo di corrente
[7 empty] | IMP | Picco negativo di corrente
[7 empty] | WH | Wh (integ mode on)
[7 empty] | WHP | Wh - only positive (integ mode on)
[7 empty] | WHM | Wh - only negative (integ mode on)
[7 empty] | AH | Ah (integ mode on)
[7 empty] | AHP | Ah - only positive (integ mode on)
[7 empty] | AHM | Ah - only negative (integ mode on)
[7 empty] | TIME | Elapsed integration time (integ mode on)

## Agilent
CASSETTO | TIPOLOGIA | LABEL | PORTA DAQ | MISURE | READ ME
101 | T | Contatto Connettore Interno | GPIB8::5::INSTR | OHM | resistenza
102 | T | Cavo Connettore Interno |  | T | termocoppia T
103 | T | Contatto Connettore Esterno |  | K | termocoppia K
104 | T | Cavo Splitter |  | VDC | Tensione dc
105 | T | Tamb Interna |  | VAC | Tensione ac
106 |  |  |  | HZ | Frequenza
107 |  |  |  | IDC | Corrente dc
108 |  |  |  | IAC | Corrente ac
109
110
111
112
113
114
115
116
117
118
119
120
121
122
201
202
203
204
205
206
207
208
209
210
211 | T | Tamb Esterna
212
213
214
215
216
217
218
219
220
221
222
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322

## Inverter
IP DEVICE | ID | TELEMETRIE
192.168.1.194 | 2138L10424 | temperature_sensormeasure
temperature_sensor/logic_board/measure
max/booster_temperature/value
min/booster_temperature/value
temperature_sensor/booster_input_1/measure
temperature_sensor/booster_input_2/measure
fan/int/speed
mppt/_1/voltage
mppt/_1/current
sensor/booster_input_current_1/measure
mppt/_1/power
mppt/_2/voltage
mppt/_2/current
sensor/booster_input_current_2/measure
mppt/_2/power
grid/main/active_power
grid/main/reactive_power
grid/main/apparent_power
grid_phase/main_l1/current
grid_phase/main_l1/voltage
grid_phase/main_l1/frequency
grid_phase/main_l2/current
grid_phase/main_l2/voltage
grid_phase/main_l2/frequency
grid_phase/main_l3/current
grid_phase/main_l3/voltage
grid_phase/main_l3/frequency
bulkvoltage
bulk/supervisor/voltage
riso/main/measure
riso/main/gnd_voltage
riso/main/ground_voltage_relay_closed
riso/main/ground_voltage_relay_open
alarm_ctrl/obj/legacy_alarm_state
supervisor/obj/main_state
leakage_sensor_pwm/main/frequency
leakage_sensor_pwm/main/toff
leakage_sensor_pwm/main/ton
leakage_sensor_pwm/redundant/frequency
leakage_sensor_pwm/redundant/toff
leakage_sensor_pwm/redundant/ton
leakage/rms_main/current
leakage/rms_redundant/current
leakage/resistive_main/current
leakage/resistive_redundant/current
grid_phase/redundant_l1/current
grid_phase/redundant_l1/voltage
grid_phase/redundant_l1/frequency
grid_phase/redundant_l2/current
grid_phase/redundant_l2/voltage
grid_phase/redundant_l2/frequency
grid_phase/redundant_l3/current
grid_phase/redundant_l3/voltage
grid_phase/redundant_l3/frequency