## Colonnina
IP | PORTA | MODALITA' | ADDRESS | TELEMETRIE | REGISTRO
10.21.47.250 | 502 | TCP | 2 | Sensore di Temperatura | 1372
|  |  |  | MeterX L1voltage | 1618
|  |  |  | MeterX L2voltage | 1622
|  |  |  | MeterX L3voltage | 1626
|  |  |  | MeterX L1current | 1630
|  |  |  | MeterX L2current | 1634
|  |  |  | MeterX L3current | 1638
|  |  |  | MeterX L1power | 1642
|  |  |  | MeterX L2power | 1646
|  |  |  | MeterX L3power | 1650
|  |  |  | MeterX Total active power | 1654
|  |  |  | MeterX Total reactive power | 1658
|  |  |  | MeterX Total apparent power | 1662
|  |  |  | MeterX Total apparent Freq | 1666
|  |  |  | MeterX activeImport_kwh | 1674
|  |  |  | MeterX activeExport_kwh | 1678
|  |  |  | MeterX reactiveImport_kwh | 1682
|  |  |  | MeterX reactiveExport_kwh | 1686

## Grafico
PLOT | ASSE | REFRESH TIME
Sensore di Temperatura_Add1 |  | 3
Sensore di Temperatura_Add2

## Strumenti
ELENCO STRUMENTI | NOME OUTPUT | TEMPO CAMPIONAMENTO | TEST TIME | PERCORSO OUTPUT
Colonnina | Test | 1 | 80000 | C:\Users\ITLOAIT\Desktop\rrr\
Grafico