## Strumenti
ELENCO STRUMENTI | NOME OUTPUT | TEMPO CAMPIONAMENTO | TEST TIME | PERCORSO OUTPUT
Wattmeter |  | 22222222 | 222222222222222222
Inverter

## Bridge
TIPOLOGIA | LEVEL | MEAS TIME | CORRECTION LENGTH | FREQUENZA | CORRECTION | PORTA BRIDGE
2 | 2 | 2 | 2 | 2 | 2 | 2
2
2

## Colonnina
IP | PORTA | MODALITA' | ADDRESS | TELEMETRIE | REGISTRO | TYPE TELEMETRIA | ID_LETTURA 1 | ID_LETTURA 2 | ID_LETTURA 3 | ID_LETTURA 4 | ID_LETTURA 5 | ID_LETTURA 6 | ID_LETTURA 7 | ID_LETTURA 8 | ID_LETTURA 9 | ID_LETTURA 10
10.21.36.254 | 502 | TCP | 2 | Sensore di Temperatura | 1372 | T | 1 | 1
10.21.36.2 |  | RTU | 2 | MeterX L1voltage | 1618 | V | 1 | 1
|  |  |  | MeterX L2voltage | 1622 | V | 1 | 1
|  |  |  | MeterX L3voltage | 1626 | V | 1 | 1
|  |  |  | MeterX L1current | 1630 | a | 1 | 1
|  |  |  | MeterX L2current | 1634 | a | 1 | 1
|  |  |  | MeterX L3current | 1638 | a | 1 | 1
|  |  |  | MeterX L1power | 1642 | P | 1 | 1
|  |  |  | MeterX L2power | 1646 | P | 1 | 1
|  |  |  | MeterX L3power | 1650 | P | 1 | 1
|  |  |  | MeterX Total active power | 1654 | P | 1 | 1
|  |  |  | MeterX Total reactive power | 1658 | P | 1 | 1
|  |  |  | MeterX Total apparent power | 1662 | P | 1 | 1
|  |  |  | MeterX Total apparent Freq | 1666 | a | 1 | 1
|  |  |  | MeterX activeImport_kwh | 1674 | a | 1 | 1
|  |  |  | MeterX activeExport_kwh | 1678 | a | 1 | 1
|  |  |  | MeterX reactiveImport_kwh | 1682 | a | 1 | 1
|  |  |  | MeterX reactiveExport_kwh | 1686 | a | 1 | 1

## Inverter
IP DEVICE | ID | TELEMETRIE | LABEL | TYPE TELEMETRIA | ID_LETTURA 1 | ID_LETTURA 2 | ID_LETTURA 3 | ID_LETTURA 4 | ID_LETTURA 5 | ID_LETTURA 6 | ID_LETTURA 7 | ID_LETTURA 8 | ID_LETTURA 9 | ID_LETTURA 10
10.21.36.241 | 2105L10299 | grid_phase/main_l1/voltage | V ph R | V | 1
10.21.36.24 | 2105L10298 | grid_phase/main_l2/voltage | V ph S | V | 1 | 1
|  | grid_phase/main_l3/voltage | V ph T | V |  | 1

## Agilent
CASSETTO | MODELLO | PORTA DAQ | TIPOLOGIA | LABEL | ID_LETTURA DAQ1 | ID_LETTURA DAQ2 | ID_LETTURA DAQ3 | ID_LETTURA DAQ4
201 | 34970 | TCPIP0::10.21.37.51::inst0::INSTR | T | 1_Main Switch Cable Out | 1
202 | 34970 | TCPIP0::10.21.37.50::inst0::INSTR | T | 2_Main Switch Body | 1
201 |  |  | T | BANANA |  | 1

## Wattmeter
PORTA WT | MODELLO | CHANNEL | TIPOLOGIA | LABEL | ID_LETTURA WT1 | ID_LETTURA WT2 | ID_LETTURA WT3 | ID_LETTURA WT4 | ID_LETTURA WT5 | ID_LETTURA WT6 | ID_LETTURA WT7 | ID_LETTURA WT8 | ID_LETTURA WT9 | ID_LETTURA WT10
GPIB0::2::INSTR | WT500 | 1 | URMS | U R INV2 | 1
GPIB0::3::INSTR | WT500 | 1 | IRMS | I R INV2 | 1
|  | 1 | P | P R INV2 | 1
|  | 2 | URMS | U S INV2 | 1
|  | 2 | IRMS | I S INV2 | 1
|  | 2 | P | P S INV2 | 1
|  | 3 | URMS | U T INV2 | 1
|  | 3 | IRMS | I T INV2 | 1
|  | 3 | P | P T INV2 | 1
|  | 1 | URMS | U R INV1 |  | 1
|  | 1 | IRMS | I R INV1 |  | 1
|  | 1 | P | P R INV1 |  | 1
|  | 2 | URMS | U S INV1 |  | 1
|  | 2 | IRMS | I S INV1 |  | 1
|  | 2 | P | P S INV1 |  | 1
|  | 3 | URMS | U T INV1 |  | 1
|  | 3 | IRMS | I T INV1 |  | 1
|  | 3 | P | P T INV1 |  | 1

## misc
Tipologia agilent | Modello agilent
T | 34970
K | 34980
OHM
FREQ
VDC
VAC
IDC
IAC